## B0_Corpus_Overview
Metric | Value
Total records in corpus | 82
Records with extraction data | 82
Records pending extraction | 0
Year range | 2015–2026
Unique journals | 30

## B0_Year_Journal
Value | Count | Pct
Year of publication
2025 | 22 | 26.8
2024 | 12 | 14.6
2022 | 10 | 12.2
2020 | 7 | 8.5
2023 | 7 | 8.5
2019 | 6 | 7.3
2021 | 6 | 7.3
2016 | 4 | 4.9
2017 | 3 | 3.7
2018 | 3 | 3.7
2015 | 1 | 1.2
2026 | 1 | 1.2
TOTAL | 82 | 100
Journal
Building and Environment | 14 | 17.1
Buildings | 10 | 12.2
Energies | 8 | 9.8
Sustainability | 5 | 6.1
Applied Thermal Engineering | 4 | 4.9
Energy and Buildings | 4 | 4.9
Journal of Building Engineering | 4 | 4.9
Energy & Buildings | 3 | 3.7
Indoor and Built Environment | 3 | 3.7
Applied Sciences | 2 | 2.4
Atmosphere | 2 | 2.4
Energy | 2 | 2.4
Energy Procedia | 2 | 2.4
Frontiers in Built Environment | 2 | 2.4
Scientific Reports | 2 | 2.4
Advances in Building Energy Research | 1 | 1.2
Ain Shams Engineering Journal | 1 | 1.2
Applied Energy | 1 | 1.2
Applied Nanoscience | 1 | 1.2
Building Simulation | 1 | 1.2
Cleaner Engineering and Technology | 1 | 1.2
International Journal of Engineering Business Management | 1 | 1.2
International Journal of Environmental Science and Technology | 1 | 1.2
International Journal of Green Energy | 1 | 1.2
International Journal of Ventilation | 1 | 1.2
Journal of Building Physics | 1 | 1.2
Procedia Engineering | 1 | 1.2
Renewable Energy | 1 | 1.2
Science of the Total Environment | 1 | 1.2
Solar Energy | 1 | 1.2
TOTAL | 82 | 100

## B1_Context
Value | Count | Pct
Building typology
School | 28 | 34.1
Residential | 26 | 31.7
Office | 17 | 20.7
Mixed | 5 | 6.1
Other | 5 | 6.1
Healthcare | 1 | 1.2
TOTAL | 82 | 100
Climate zone
Temperate | 25 | 30.5
Mediterranean | 13 | 15.9
Multiple | 11 | 13.4
Subtropical | 10 | 12.2
Tropical | 7 | 8.5
Arid | 5 | 6.1
Continental | 5 | 6.1
Cold | 3 | 3.7
Not specified | 3 | 3.7
TOTAL | 82 | 100
Country
CHN | 17 | 20.7
ESP | 6 | 7.3
POL | 5 | 6.1
AUS | 4 | 4.9
GBR | 4 | 4.9
IND | 4 | 4.9
IRN | 4 | 4.9
ITA | 3 | 3.7
KOR | 3 | 3.7
USA | 3 | 3.7
CYP | 2 | 2.4
EGY | 2 | 2.4
HKG | 2 | 2.4
MYS | 2 | 2.4
SAU | 2 | 2.4
BEL | 1 | 1.2
DNK | 1 | 1.2
FIN | 1 | 1.2
HUN | 1 | 1.2
IRL | 1 | 1.2
JOR | 1 | 1.2
JPN | 1 | 1.2
LBN | 1 | 1.2
MAR; FRA | 1 | 1.2
MEX | 1 | 1.2
Multiple | 1 | 1.2
Multiple (CHN, GBR, ITA, ESP, IND, others) | 1 | 1.2
Multiple (ESP, ITA, FRA, GBR, NOR, PRT, AUT, SWE, CYP, ROM, JOR, BRA, AUS) | 1 | 1.2
Multiple (IND, POL, SWE) | 1 | 1.2
NOR | 1 | 1.2
NZL | 1 | 1.2
PRT | 1 | 1.2
SGP | 1 | 1.2
THA | 1 | 1.2
TOTAL | 82 | 100
Study type
Simulation-only | 36 | 43.9
Simulation+Field | 24 | 29.3
Field measurement | 12 | 14.6
Review | 8 | 9.8
Lab experiment | 1 | 1.2
Other | 1 | 1.2
TOTAL | 82 | 100
Simulation tool
None (field measurement only) | 3 | 3.7
EnergyPlus | 2 | 2.4
EnergyPlus 9.4 + CONTAM 3.4 + Python (co-simulation via FMI) | 2 | 2.4
Airpak (CFD steady-state, Fluent solver engine, standard k-ε). CO2 detector United S8 (0–10000 ppm, ±3%, 20 s interval) for in-situ feasibility measurements. | 1 | 1.2
Airpak (Fluent engine); NSGA-II via MATLAB (C++ data-interactive module) | 1 | 1.2
Airpak 3.0 (Fluent-based CFD; RANS k-ε; PMV-PPD model integrated); transient simulation | 1 | 1.2
ANSYS-CFX 15.0 (RANS RNG k-ε; power-law ABL α=0.28) + IDA-Indoor Climate and Energy (IDA-ICE 4.7) for dynamic building simulation | 1 | 1.2
ANSYS Fluent (CFD: steady-state RANS k-ε, FVM, SIMPLE algorithm, DPM for PM2.5, Species Transport for humidity). MATLAB (Latin Hypercube Sampling, NSGA-II multi-objective optimization). Thermal energy balance model for cooling energy estimation. | 1 | 1.2
ANSYS Fluent (LES + radiation algorithms) + Grasshopper + Ladybug + Honeybee + EnergyPlus | 1 | 1.2
ANSYS Fluent (RANS RNG k-ε + DO radiation + Boussinesq) | 1 | 1.2
ANSYS Fluent (SST k-ω RANS) + Taguchi L25/L16b DOE + TOPSIS + S/N ratio | 1 | 1.2
ANSYS Fluent 14 (RANS standard k-epsilon; DPM Lagrangian for spray) | 1 | 1.2
ANSYS Fluent 2020 (standard k-ε; RANS; DO radiation) | 1 | 1.2
ANSYS FLUENT 2022 R1 (RANS k-ω standard) | 1 | 1.2
ANSYS Fluent V2021 R2 (standard k-ε RANS + DPM discrete phase model; Euler-Lagrange) | 1 | 1.2
ANSYS Fluent; COMSOL; MATLAB; TRNSYS (various reviewed studies) | 1 | 1.2
Autodesk Revit 2019 (BIM) + VR headset (Autodesk Cloud Service stereo-panorama) | 1 | 1.2
CFD (RANS RNG k-ε) + CONTAM 3.2 + eQUEST (BES) | 1 | 1.2
CFD; wind tunnel (literature review of studies) | 1 | 1.2
CFD; wind tunnel (literature review) | 1 | 1.2
CONTAM 3.4.0.1 (multizone airflow network) | 1 | 1.2
Design-Builder (CFD: SIMPLER algorithm; energy engine: EnergyPlus). WindrosePlot for wind roses. | 1 | 1.2
DesignBuilder (EnergyPlus engine); CFD (integrated DesignBuilder) | 1 | 1.2
DesignBuilder + Airpak + Climate Studio + Honeybee (EnergyPlus engine) | 1 | 1.2
DesignBuilder + CFD (RANS k-e) | 1 | 1.2
DesignBuilder v4.5 (CFD module, EnergyPlus engine) | 1 | 1.2
DesignBuilder v4.7.0.027 / EnergyPlus + MATLAB R2017a (statistical analysis) | 1 | 1.2
DesignBuilder v6.1.8 (EnergyPlus engine); Ecotect Analysis 2017 (solar radiation); CFD static linear model (DesignBuilder integrated) | 1 | 1.2
EnergyPlus (airflow network) | 1 | 1.2
EnergyPlus (reviewed studies); also TRNSYS, DesignBuilder, CONTAM | 1 | 1.2
EnergyPlus (simulation not explicitly named but implied via standard BES) | 1 | 1.2
EnergyPlus (v24.1.0) | 1 | 1.2
EnergyPlus (via OpenStudio) + One Click LCA + BIMestiMate + MATLAB (NSGA-II) | 1 | 1.2
EnergyPlus + EMS (Erl) + Morphing method (HadCM3) | 1 | 1.2
EnergyPlus + Grasshopper + Ladybug + Honeybee + Rhino 3D + Python | 1 | 1.2
EnergyPlus + jEPlus | 1 | 1.2
EnergyPlus + JEPlus + EA (DesignBuilder geometry) | 1 | 1.2
EnergyPlus + jEPlus + Python (XGBoost metamodel + NSGA-II) | 1 | 1.2
EnergyPlus + Python (co-simulation via BCVTB) | 1 | 1.2
EnergyPlus 8.7.0 (calibrated model via DesignBuilder by Fokaides et al. 2016) | 1 | 1.2
EnergyPlus 8.8.0 (modified source; AFN) + OpenFOAM 3.0.1 (CFD for Cp) + GNU Octave 4.1.1 (occupant model) | 1 | 1.2
EnergyPlus 9.3 + OpenStudio + MATLAB (NSGA-II) + Python 3.7 (TSK fuzzy controllers via FMI) | 1 | 1.2
EnergyPlus 9.4 + OpenStudio (SketchUp Plug-in) | 1 | 1.2
EnergyPlus 9.4 + SketchUp + JEPlus+EA (NSGA-II) | 1 | 1.2
EnergyPlus 9.6.0 (Airflow Network module) | 1 | 1.2
EnergyPlus V23.1.0 | 1 | 1.2
IDA-ICE 4.7.1 (dynamic thermal simulation) + ANSYS-CFX (steady-state CFD, standard k-ε) | 1 | 1.2
IDA-ICE 5.0 (dynamic building simulation) + SketchUp (BIM import via Naviate Simple BIM) | 1 | 1.2
IDA ICE (IDA Indoor Climate and Energy) | 1 | 1.2
IES Virtual Environment (VE) | 1 | 1.2
MATLAB (custom finite volume code: space model + cross-flow DP-IEC [ε-NTU] + solar chimney [Ong 2003] + windcatcher + genetic algorithm optimizer); validated vs TRNSYS | 1 | 1.2
MATLAB 2022b (coupled thermal-PM2.5 model + NSGA-II) | 1 | 1.2
MATLAB/Simulink (custom dynamic model: energy balance, CO2 mass balance, simplified PMV, fan affinity laws). BAS/IoT infrastructure. Wi-Fi probe occupancy sensing (IEEE 802.11). | 1 | 1.2
Modelica Buildings Library (virtual testbed) | 1 | 1.2
None (AHP multi-criteria decision framework; literature-based assessment) | 1 | 1.2
None (field measurement + Humphreys adaptive algorithm implemented in LabVIEW 2014) | 1 | 1.2
None (field measurement + MATLAB PhysioNet Cardiovascular Signal Toolbox; ECG signal processing) | 1 | 1.2
None (field measurement + SPSS 26 statistical analysis) | 1 | 1.2
None (field measurement only; statistical analysis in R) | 1 | 1.2
None (field measurement; IBM SPSS Statistics v27) | 1 | 1.2
None (field monitoring + Weibull regression; NewTREND H2020 project) | 1 | 1.2
None (full-scale experimental only) | 1 | 1.2
None (questionnaire-based field study; IBM SPSS Statistics 22) | 1 | 1.2
None (questionnaire survey; Pearson correlation; statistical analysis) | 1 | 1.2
Not applicable | 1 | 1.2
Not applicable (literature review) | 1 | 1.2
Not applicable (literature review; VOSviewer for co-occurrence mapping) | 1 | 1.2
OpenFOAM (via Butterfly plugin in Grasshopper/Rhino 7; steady-state incompressible RANS k-ε) | 1 | 1.2
OpenFOAM 8.0 (RANS RNG k-ε) | 1 | 1.2
Python (custom calculation on TMY weather files; CSIRO morphed future weather) | 1 | 1.2
Python (custom data analysis; no energy simulation engine) | 1 | 1.2
Python (custom MILP via PyScipOpt; ECM grey-box models for CO2 and thermal dynamics) | 1 | 1.2
Python (custom PMV computation + SVM via sklearn; envelope curve fitting; ASHRAE_db II database) | 1 | 1.2
Python (GLPK linear programming); Raspberry Pi IoT; Keras CNN (soft-sensor) | 1 | 1.2
Rhino 7 + Grasshopper + Ladybug/Honeybee + EnergyPlus | 1 | 1.2
SciMAT v1.1.04 (Science Mapping Analysis Software Tool); bibliometric analysis | 1 | 1.2
TAS Engineering v9.5 (EDSL) + Taguchi L9(3^4) DOE + ANOVA | 1 | 1.2
TRNSYS v17 + TRNFLOW + MATLAB (PSO) | 1 | 1.2
TOTAL | 82 | 100
Validation method
Experimental validation | 42 | 51.2
None reported | 31 | 37.8
Cross-validation | 3 | 3.7
Sensitivity analysis | 2 | 2.4
Statistical test | 2 | 2.4
Monitored data only | 1 | 1.2
Not applicable | 1 | 1.2
TOTAL | 82 | 100

## B2_IAQ
Value | Count | Pct
IAQ primary metric
CO2 concentration | 34 | 41.5
ACH | 18 | 22
Not assessed | 17 | 20.7
Multiple | 8 | 9.8
PM2.5 | 3 | 3.7
Other | 2 | 2.4
TOTAL | 82 | 100
CO2 measurement method
Not applicable | 34 | 41.5
Simulated | 26 | 31.7
Both | 15 | 18.3
Sensor (real) | 7 | 8.5
TOTAL | 82 | 100
IAQ standard referenced
Not specified | 11 | 13.4
(Missing) | 5 | 6.1
ASHRAE 55 | 2 | 2.4
GB/T 18883-2022 (China indoor air quality standard, 1000 ppm CO2 limit) | 2 | 2.4
ANSI/ASHRAE Standard 55-2020; ISO 7726:1998; ISO 7730:2005 | 1 | 1.2
ANSI/ASHRAE/ASHE 170-2017; WHO (2009, 2021); ASHRAE 62.1 | 1 | 1.2
ASHRAE (airflow modelling standard) | 1 | 1.2
ASHRAE (min 80% occupant comfort; no extreme CO2) | 1 | 1.2
ASHRAE 113-2013; ASHRAE 55-2017; ISO 7730 | 1 | 1.2
ASHRAE 55-2004 | 1 | 1.2
ASHRAE 55-2020 (SET* calculation) | 1 | 1.2
ASHRAE 55; not explicitly referenced for CO2 limit | 1 | 1.2
ASHRAE 62 (actual-to-required ventilation ratio nQ) | 1 | 1.2
ASHRAE 62.1 | 1 | 1.2
ASHRAE 62.1 (1000 ppm CO2 threshold for fresh air supply activation); IDA-ICE default | 1 | 1.2
ASHRAE 62.1 (1000 ppm CO2 threshold for mechanical ventilation activation) | 1 | 1.2
ASHRAE 62.1 (7.5 L/s per person fresh air); 1000 ppm CO2 limit | 1 | 1.2
ASHRAE 62.1 (ventilation rate Vbz formula cited) | 1 | 1.2
ASHRAE 62.1; WHO | 1 | 1.2
ASHRAE 62.2 (residential ACH>=recommended); ISO 7730 (PMV/PPD/PD) | 1 | 1.2
ASHRAE 62; EN 13779:2007 (IDA categories; 1000 ppm limit) | 1 | 1.2
ASHRAE guidelines (800 ppm threshold) | 1 | 1.2
ASHRAE Handbook of Fundamentals | 1 | 1.2
ASHRAE IAQ guidelines | 1 | 1.2
ASHRAE Standard 55 | 1 | 1.2
ASHRAE Standard 62.1 (1000 ppm CO2 limit); study uses 850 ppm as comfort constraint | 1 | 1.2
ASHRAE Standard 62; CIBSE comfort criteria | 1 | 1.2
BEAM Plus HK | 1 | 1.2
BEAM Plus HK (min 2 ACH) | 1 | 1.2
Building Bulletin (1500 ppm); ASHRAE (1000 ppm); average set at 1250 ppm | 1 | 1.2
China Affordable Housing Design Code GB50352-2012 | 1 | 1.2
CIBSE Guide A | 1 | 1.2
DQLS V2.0 (NZ MoE); ASHRAE 62.1; CIBSE; EN-15251; BB 99 & 101 | 1 | 1.2
EN 15251 / CEN 15251 (Category II, 80% acceptability) | 1 | 1.2
EN 15251:2007 (adaptive comfort Category II) | 1 | 1.2
EN 16798-1:2019 (Category II: 800 ppm above outdoor = 1200 ppm total) | 1 | 1.2
EN 16798-1:2019 (Category III: 1350 ppm above 400 ppm outdoor); CPCB (Delhi); EU AQS (Warsaw); WHO AQG (Stockholm) | 1 | 1.2
EN 16798-1:2019; ASHRAE 55:2023 | 1 | 1.2
EN 16798-1:2019; ASHRAE 62-2001 | 1 | 1.2
EN 16798; ASHRAE 62.1; CEN CR 1752; ISO/DIS 16814 | 1 | 1.2
GB 50033-2013; EN 17037 (daylighting); ASHRAE 14-2014 (model validation) | 1 | 1.2
GB/T 17226-1998 and GB/T 17226-2017 (Hygienic Requirements of Classroom Ventilation in Middle and Elementary School, China) | 1 | 1.2
GB/T 18883-2022 (China, 1000 ppm); MOHURD classroom ventilation standard (2017) | 1 | 1.2
GB/T18883-2022 (China; PM2.5 ≤50 µg/m³) | 1 | 1.2
GB/T18883-2022; ISO; ASHRAE 62.1; CEN | 1 | 1.2
IDA 2 standard (<920 ppm); IDA 3 standard (<990 ppm); RITE (Spain) | 1 | 1.2
Iranian National Building Code 2013 (min. aperture 4% of floor area); Iranian LUX standards | 1 | 1.2
ISO 7730 / EN 15251 | 1 | 1.2
ISO 7730; ASHRAE 55-2004 | 1 | 1.2
Ministerial Regulation No. 39 B.E.2537 Thailand (10% room area = openings); WHO AQG (PM2.5) | 1 | 1.2
NBN EN 15251; NBN EN 13779 (IDA1); NBN D50-001 (Belgian ventilation standard) | 1 | 1.2
Not applicable | 1 | 1.2
Not specified (CO2 not a control variable; temperature-based control only) | 1 | 1.2
NS-EN 16798-1 (Norwegian adaptation of EN 16798); TEK 17 (Norwegian Building Code) | 1 | 1.2
Portuguese national limits (Portaria 138-G/2021: CO2 1250 ppm, PM2.5 25 µg/m³, VOC 600 µg/m³); WHO AQG 2021; OSHA (thermal) | 1 | 1.2
RITE (Spain); Spanish TBC; IDA 2 category (900 ppm) | 1 | 1.2
RITE (Spain, IDA2: 500 ppm above outdoor); ASHRAE (700 ppm above outdoor); CR 1752 (Category A: 460 ppm above outdoor) | 1 | 1.2
RITE (Spanish HVAC Regulation RD 1027/2007 & RD 178/2021); CTE B4 climate zone | 1 | 1.2
RITE (Spanish regulation); IDA1/IDA2 air quality classes; COVID-19 national regulations (−100 ppm reduction) | 1 | 1.2
SAGE guidelines (800/1500 ppm); BB101 2019 (<1500 ppm daily avg); UK DfE | 1 | 1.2
UNE EN ISO 7730:2006; UNE EN 16798-1:2020 | 1 | 1.2
Various (ASHRAE 62.1; EN 16798; WHO; national standards per study) | 1 | 1.2
WHO (1000 ppm); CIBSE TM59 | 1 | 1.2
WHO (1000 ppm); EN 15251:2007 Category II; ASHRAE 62.1 | 1 | 1.2
WHO AQG (PM2.5 limit 10 µg/m³); Household Air Pollution (HAP) guidelines | 1 | 1.2
WHO AQG 2021; WHO IAQ guidelines 2010; ASHRAE | 1 | 1.2
TOTAL | 82 | 100
IAQ secondary metric
Not reported | 11 | 13.4
(Missing) | 3 | 3.7
Temperature; relative humidity | 2 | 2.4
ACH (ventilation air change rate) | 1 | 1.2
ACH; airflow rate (m³/s) | 1 | 1.2
ACH; infection risk (R0) | 1 | 1.2
ACH; ventilation rate (l/s/p); daylight (DA; UDI) | 1 | 1.2
Age of Air (AoA = V/Q, s); indoor air velocity (m/s); natural light (LUX) | 1 | 1.2
Age of Air (AoA); indoor air velocity | 1 | 1.2
Age of air (h); air velocity (m/s) | 1 | 1.2
Age of Air (maximum, at Z=1.12 m); average CO2 concentration (whole room, ppm); indoor wind speed (Z=0.7 m) | 1 | 1.2
Air velocity (m/s); I/O PM2.5 ratio | 1 | 1.2
Air velocity (m/s); temperature distribution | 1 | 1.2
Air velocity (m/s); wrist and arm skin temperature; heart rate (bpm) | 1 | 1.2
Airflow rate (dm³/s); adaptive thermal comfort hours | 1 | 1.2
Airflow velocity (m/s) | 1 | 1.2
Average skin temperature (°C); energy requirement (kW) | 1 | 1.2
Benzene (ppm); Toluene (ppm); TVOC (ppm); Odor intensity (olf/decipol) | 1 | 1.2
Clothing insulation (clo); running mean outdoor temperature (Θm) | 1 | 1.2
CO2 concentration (ventilation effectiveness εv) | 1 | 1.2
CO2 concentration; indoor temperature | 1 | 1.2
CO2, PM2.5, PM10, VOC, TVOC, NO2, SO2, O3, formaldehyde | 1 | 1.2
CO2; humidity | 1 | 1.2
Dew point temperature (Td); surface temperature (Ts,c); relative humidity | 1 | 1.2
Dust; odor; outdoor air pollution sources | 1 | 1.2
Formaldehyde (HCHO) | 1 | 1.2
Fresh air imbalance rate σ (coefficient of variation of fresh air ratios across zones); CO2 exceedance rate (%) | 1 | 1.2
GHG emissions (kgCO2e, GWP100) | 1 | 1.2
Humidity ratio (W_l, W_u) | 1 | 1.2
Humidity ratio; latent cooling capacity | 1 | 1.2
Humidity; air velocity | 1 | 1.2
Indoor air temperature; overheating rate (% time T>26°C) | 1 | 1.2
Indoor air velocity (m/s); indoor air temperature due to cook-stove (K) and solar radiation (K); H2O mass fraction (humidity); PM2.5 percentage area of bed exposed to pollutant concentration | 1 | 1.2
Indoor air velocity; air exchange rate | 1 | 1.2
Indoor temperature (°C); PMV distribution | 1 | 1.2
Indoor temperature; outdoor temperature | 1 | 1.2
Lighting CCT; window glass coating (RGB) | 1 | 1.2
Operative temperature (Top); PPD (%); window opening degree (%) | 1 | 1.2
PM10; PM2.5; PM1; PM0.1 (PNC); LDSA (μm²/cm³); particle diameter (nm) | 1 | 1.2
PM2.5 (µg/m³); NO2 (µg/m³); PPD (%) | 1 | 1.2
PM2.5 (µg/m³); UDI (Useful Daylight Illuminance) | 1 | 1.2
PM2.5; PM10; UFPs; VOCs; O3; CO | 1 | 1.2
PM2.5; PM10; VOC; CO2; temperature; humidity | 1 | 1.2
PM2.5; temperature; humidity; air velocity | 1 | 1.2
PM2.5; VOC; NO2 | 1 | 1.2
PPD (Predicted Percentage of Dissatisfied) | 1 | 1.2
Relative humidity (%); air velocity (m/s) | 1 | 1.2
Relative humidity (%); air velocity (m/s); age of air (s) | 1 | 1.2
Relative humidity (%); radiation asymmetry ΔTr (°C); PPD (%) | 1 | 1.2
Relative humidity (%); surface temperature (thermography); indoor air velocity (m/s) | 1 | 1.2
Relative humidity (excluded from model as low Pearson r) | 1 | 1.2
Relative humidity; outdoor pollutants; odors | 1 | 1.2
Relative humidity; temperature; moisture (vapour pressure) | 1 | 1.2
Skin temperature (finger); heart rate (bpm) | 1 | 1.2
Solar gain (kWh/month) | 1 | 1.2
SVE4 (scale for ventilation efficiency No.4); CO2 as tracer gas for zoning | 1 | 1.2
Temperature | 1 | 1.2
Temperature (indoor/outdoor ΔT); wind speed (outdoor) | 1 | 1.2
Temperature distribution | 1 | 1.2
Temperature; heating demand | 1 | 1.2
Temperature; humidity | 1 | 1.2
Temperature; humidity; particulate matter; VOCs | 1 | 1.2
Temperature; occupancy count (YOLOv5); window state; solar radiation | 1 | 1.2
Thermal discomfort hours (WHO >25°C; CIBSE TM59 >26°C) | 1 | 1.2
Thermal discomfort hours; infiltration ACH | 1 | 1.2
Turbulence kinetic energy (TKE); air velocity distribution | 1 | 1.2
TVOC (ppb); PM2.5; humidity; temperature | 1 | 1.2
UHCO2 (unmet CO2 hours %); UHT (unmet temperature hours %) | 1 | 1.2
VOC; PM2.5; NO2; CO; formaldehyde | 1 | 1.2
TOTAL | 82 | 100
Monitoring frequency
Continuous | 38 | 46.3
Not reported | 29 | 35.4
Hourly | 14 | 17.1
Periodic | 1 | 1.2
TOTAL | 82 | 100

## B3_Thermal_Comfort
Value | Count | Pct
TC primary metric
Operative temperature | 38 | 46.3
PMV-PPD | 24 | 29.3
Adaptive comfort | 8 | 9.8
TSV (survey) | 6 | 7.3
Not assessed | 4 | 4.9
Multiple | 2 | 2.4
TOTAL | 82 | 100
Comfort model / standard
Not specified | 22 | 26.8
Own model | 15 | 18.3
ASHRAE 55 Static | 13 | 15.9
ASHRAE 55 Adaptive | 11 | 13.4
ISO 7730 | 11 | 13.4
EN 15251 / EN 16798 | 10 | 12.2
TOTAL | 82 | 100
Occupant feedback
No | 66 | 80.5
Yes — surveys | 15 | 18.3
Indirect only | 1 | 1.2
TOTAL | 82 | 100
Season of analysis
Both | 26 | 31.7
Cooling | 25 | 30.5
All year | 19 | 23.2
Heating | 12 | 14.6
TOTAL | 82 | 100

## B4_Energy
Value | Count | Pct
Energy metric
Not assessed | 35 | 42.7
HVAC load (kWh) | 24 | 29.3
% energy saving | 18 | 22
EUI (kWh/m²·yr) | 3 | 3.7
Multiple | 2 | 2.4
TOTAL | 82 | 100
Energy baseline
Yes — rule-based baseline | 42 | 51.2
Not applicable | 32 | 39
No baseline | 5 | 6.1
Yes — reference building | 3 | 3.7
TOTAL | 82 | 100
Retrofit included
No | 68 | 82.9
Yes — systems | 9 | 11
Yes — envelope | 3 | 3.7
Not specified | 2 | 2.4
TOTAL | 82 | 100
Simulation period
Annual | 5 | 6.1
Not applicable | 3 | 3.7
Not applicable (steady-state CFD scenarios) | 3 | 3.7
Annual (cooling period Apr-Oct) | 2 | 2.4
Not applicable (review) | 2 | 2.4
12 h operational period (working day); 10-day IAQ dataset (15 min sampling) | 1 | 1.2
2 months (Nov–Dec) | 1 | 1.2
24 h (1 August 2020, sunny summer day) | 1 | 1.2
3 days (24–26 April 2023, transition season, Harbin); simulation transient 2-min timestep | 1 | 1.2
3 h (winter) + spring experimental campaigns Dec 2023–Apr 2024 | 1 | 1.2
5 days (4 winter days analysed) | 1 | 1.2
Annual (11 Mediterranean climate zones; TMY-PVGIS; 88 simulations total) | 1 | 1.2
Annual (200 simulations; windows closed Jun–Aug and 10 PM–6 AM) | 1 | 1.2
Annual (32 occupancy scenarios × 2 climates; 1-min timestep) | 1 | 1.2
Annual (4 seasonal avg daily profiles; full year dynamic simulation) | 1 | 1.2
Annual (5 cooler months nat-vent only + 7 warmer months with AC/ceiling fan); cooling energy balance model | 1 | 1.2
Annual (60,000 parametric LHS simulations; A-rated Irish semi-detached house) | 1 | 1.2
Annual (700 sim: 5 strategies × 7 household types × 20 households) | 1 | 1.2
Annual (8760 h; present + 2050 + 2090 RCP2.6 & RCP8.5) | 1 | 1.2
Annual (academic year, 3 seasonal periods: winter Dec–Feb, summer May–Jun, mid-season Mar–Apr) | 1 | 1.2
Annual (all seasons; IDA-ICE results averaged per season) | 1 | 1.2
Annual (cooling period Apr–Oct, 7 months) | 1 | 1.2
Annual (cooling season simulation) | 1 | 1.2
Annual (Famagusta TMY 2004–2018; hourly dynamic simulation) | 1 | 1.2
Annual (Feb–Dec 2023, ~10 months) | 1 | 1.2
Annual (historic + future climate: RCP 2.6, 4.5, 8.5 for 2050 and 2100) | 1 | 1.2
Annual (hours when temperature exceeds 28°C); summer cooling simulation | 1 | 1.2
Annual (Jan–Dec) and seasonal (May–Oct) | 1 | 1.2
Annual (Oct-Apr heated covered period); field measurements Oct-Apr 2020-2021 | 1 | 1.2
Annual (present + 2080 B2 and A1FI scenarios) | 1 | 1.2
Annual (reviews of annual studies, 1996–2016) | 1 | 1.2
Annual (seasonal analysis) | 1 | 1.2
Annual (Sep–Jun school year) | 1 | 1.2
Annual (TMY / real 2018 / future 2050; 15-min timestep) | 1 | 1.2
Annual (TMY Katowice + future 2050 A2 scenario; CCWorldWeatherGen; 15-min timestep) | 1 | 1.2
Annual (TMY Katowice, Poland; 15-min timestep) | 1 | 1.2
Annual (TMY Warsaw; 25-year LCC; 15-min timestep) | 1 | 1.2
Annual (various reviewed studies) | 1 | 1.2
Annual (weekdays 09:00–15:30) | 1 | 1.2
Annual school year (September–June; hourly timestep); 3 cities: Delhi, Warsaw, Stockholm | 1 | 1.2
April–October (intermediate + summer season, Seoul TMY; 10-min timestep) | 1 | 1.2
Aug 2021 and Jul-Aug 2022 (field sessions, 4 per school) | 1 | 1.2
Feb-Mar (pre-summer) | 1 | 1.2
July–August (1488 h, hourly timestep; Bari, Italy) | 1 | 1.2
May–September cooling season; design week 10–17 August for CO2 plots | 1 | 1.2
Not applicable (10-min recovery period per session; 4 sessions × 12 participants) | 1 | 1.2
Not applicable (14-day RCT per office; Feb 2022–Mar 2024) | 1 | 1.2
Not applicable (57 monitoring days: Jan 2013 + Mar–Apr 2015) | 1 | 1.2
Not applicable (8 months monitoring: Feb–Sep 2017) | 1 | 1.2
Not applicable (cross-sectional survey) | 1 | 1.2
Not applicable (field + parametric simulation scenarios, Aswan transition season) | 1 | 1.2
Not applicable (field study + CONTAM parametric) | 1 | 1.2
Not applicable (field study Sep 2021–Jun 2022) | 1 | 1.2
Not applicable (field study: Base Dec 2023, S1 Jan 2024, S2 Jan 2024; 5 days each) | 1 | 1.2
Not applicable (lab experiment, 18 min per session) | 1 | 1.2
Not applicable (one-day questionnaire, November 2023) | 1 | 1.2
Not applicable (qualitative assessment) | 1 | 1.2
Not applicable (review; studies span annual, seasonal and weekly periods) | 1 | 1.2
Not applicable (statistical model on ASHRAE_db II; 30,734 data points) | 1 | 1.2
Not applicable (steady-state CFD scenarios, crisis period Jan–May) | 1 | 1.2
Single working day (8:00–23:00), 17 July (summer cooling season, Chongqing) | 1 | 1.2
Steady-state (critical hour 16:00 h, average spring day, Cuernavaca) | 1 | 1.2
Steady-state + transient (2 min dynamic pulsating) | 1 | 1.2
Steady-state CFD (66 simulations: 25 DV-PV + 25 NCV-PV + 16 DV 100% return air) | 1 | 1.2
Steady-state CFD scenarios (not annual) | 1 | 1.2
Summer (July–August; dominant wind season for NV in Rasht) | 1 | 1.2
Summer design week (August hottest week); steady-state CFD scenarios | 1 | 1.2
Summer months May–September (typical day per month; quasi-steady hourly simulation) | 1 | 1.2
Summer thermal peak season; steady-state conditions (≥12h stable) | 1 | 1.2
Winter day (Feb avg) and summer day (Jun avg); 8:00–17:00; 1-min timestep | 1 | 1.2
Winter design conditions (T_ext=4°C, Xi'an NW China); heating load comparison vs traditional scheme | 1 | 1.2
Winter heating season (field measurements + parametric simulations) | 1 | 1.2
TOTAL | 82 | 100

## B5_Optimisation
Value | Count | Pct
Ventilation type
Natural | 46 | 56.1
Mixed-mode | 15 | 18.3
Hybrid | 13 | 15.9
Multiple | 5 | 6.1
Mechanical (for comparison) | 3 | 3.7
TOTAL | 82 | 100
Optimisation method
None (descriptive) | 29 | 35.4
Exhaustive/parametric | 21 | 25.6
NSGA-II | 12 | 14.6
Rule-based | 6 | 7.3
MPC | 3 | 3.7
ANN surrogate | 2 | 2.4
GA (single-obj) | 2 | 2.4
MCDM | 2 | 2.4
Multiple | 2 | 2.4
Other | 2 | 2.4
PSO | 1 | 1.2
TOTAL | 82 | 100
Problem formulation
Not optimization | 48 | 58.5
Multi-objective constrained | 26 | 31.7
Single-objective | 8 | 9.8
TOTAL | 82 | 100
Primary decision variable
Window opening schedule | 29 | 35.4
Multiple | 16 | 19.5
Ventilation rate | 12 | 14.6
Window aperture size | 8 | 9.8
Envelope parameter | 7 | 8.5
CO2/IAQ set-point | 4 | 4.9
Temperature set-point | 4 | 4.9
Not applicable | 1 | 1.2
Other | 1 | 1.2
TOTAL | 82 | 100
Surrogate model
None | 75 | 91.5
ANN | 6 | 7.3
XGBoost | 1 | 1.2
TOTAL | 82 | 100
Performance feedback
Simulation only | 37 | 45.1
Simulation + monitoring | 23 | 28
Monitored data only | 13 | 15.9
Not specified | 9 | 11
TOTAL | 82 | 100
Stochastic occupancy
No | 68 | 82.9
Not applicable | 7 | 8.5
Yes | 6 | 7.3
Partially | 1 | 1.2
TOTAL | 82 | 100

## Numeric_Summaries
Variable | N_valid | N_missing | Min | Q1 | Median | Mean | Q3 | Max | SD
CO2 threshold (ppm) | 36 | 46 | 800 | 987.5 | 1000 | 1018.56 | 1000 | 1500 | 167.06
PMV target min (or temp °C) | 50 | 32 | -2 | -0.5 | 17 | 12.59 | 21 | 33.1 | 11.02
PMV target max (or temp °C) | 53 | 29 | 0.5 | 0.5 | 25 | 16.8 | 26 | 34.1 | 12.55
Energy saving (%) | 35 | 47 | 9.6 | 28.5 | 45 | 46.74 | 64 | 95 | 23.76

## Cross_Typology_Optim
Building_typology | None (descriptive) | Exhaustive/parametric | NSGA-II | MCDM | MPC | Multiple | Other | Rule-based | ANN surrogate | PSO | GA (single-obj)
Healthcare | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mixed | 3 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Office | 4 | 3 | 2 | 1 | 2 | 1 | 1 | 3 | 0 | 0 | 0
Other | 2 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0
Residential | 7 | 7 | 8 | 0 | 0 | 1 | 0 | 0 | 2 | 1 | 0
School | 12 | 9 | 1 | 1 | 0 | 0 | 1 | 2 | 0 | 0 | 2

## Cross_Climate_Vent
Climate_zone | Hybrid | Natural | Mixed-mode | Mechanical (for comparison) | Multiple
Arid | 1 | 4 | 0 | 0 | 0
Cold | 1 | 2 | 0 | 0 | 0
Continental | 2 | 2 | 1 | 0 | 0
Mediterranean | 1 | 5 | 4 | 1 | 2
Multiple | 1 | 5 | 4 | 0 | 1
Not specified | 0 | 1 | 0 | 0 | 2
Subtropical | 2 | 6 | 1 | 1 | 0
Temperate | 4 | 16 | 4 | 1 | 0
Tropical | 1 | 5 | 1 | 0 | 0

## Cross_Study_Surrogate
Study_type | None | ANN | XGBoost
Field measurement | 12 | 0 | 0
Lab experiment | 1 | 0 | 0
Other | 1 | 0 | 0
Review | 8 | 0 | 0
Simulation+Field | 20 | 4 | 0
Simulation-only | 33 | 2 | 1